{"text_format":"1","workbook":"xlsx","n_sheets":2,"sheets":["データ","グラフ"],"not_rendered":{"charts":2,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"データ","index":0,"n_rows":65,"n_cols":335,"rows_kept":65,"cut":false,"hidden":false,"merged":[]}
["年度","県コード","水域コード","地点コード","絶対番号","水域名称_漢字","地点名称_漢字","採取年","採取月日","採取時分",null,null,"採取年月","調査主体コード","調査区分コード","採取位置コード","採取水深","コメント_天候コード","天候コード","コメント_流況コード","流況コード","コメント_臭気コード","臭気コード","コメント_色相コード","色相コード","コメント_気温","気温","コメント_水温","水温","コメント_流量","流量","コメント_全水深","全水深","コメント_透明度","透明度","コメント_pH","pH","コメント_DO","DO","コメント_BOD","BOD","コメント_COD","COD","コメント_SS","SS","コメント_大腸菌群数","大腸菌群数","コメント_n-ヘキサン抽出物質_油分等","n-ヘキサン抽出物質_油分等","コメント_全窒素","全窒素","コメント_全燐","全燐","コメント_カドミウム","カドミウム","コメント_全シアン","全シアン","コメント_鉛","鉛","コメント_六価クロム","六価クロム","コメント_砒素","砒素","コメント_総水銀","総水銀","コメント_アルキル水銀","アルキル水銀","コメント_PCB","PCB","コメント_ジクロロメタン","ジクロロメタン","コメント_四塩化炭素","四塩化炭素","コメント_1,2-ジクロロエタン","1,2-ジクロロエタン","コメント_1,1-ジクロロエチレン","1,1-ジクロロエチレン","コメント_シス-1,2-ジクロロエチレン","シス-1,2-ジクロロエチレン","コメント_1,2-ジクロロエチレン","1,2-ジクロロエチレン","コメント_1,1,1-トリクロロエタン","1,1,1-トリクロロエタン","コメント_1,1,2-トリクロロエタン","1,1,2-トリクロロエタン","コメント_トリクロロエチレン","トリクロロエチレン","コメント_テトラクロロエチレン","テトラクロロエチレン","コメント_1,3-ジクロロプロペン","1,3-ジクロロプロペン","コメント_チウラム","チウラム","コメント_シマジン","シマジン","コメント_チオベンカルブ","チオベンカルブ","コメント_ベンゼン","ベンゼン","コメント_セレン","セレン","コメント_硝酸性窒素","硝酸性窒素","コメント_亜硝酸性窒素","亜硝酸性窒素","コメント_硝酸性窒素及び亜硝酸性窒素","硝酸性窒素及び亜硝酸性窒素","コメント_ふっ素","ふっ素","コメント_ほう素","ほう素","コメント_トリハロメタン生成能","トリハロメタン生成能","コメント_クロロホルム生成能","クロロホルム生成能","コメント_ブロモジクロロメタン生成能","ブロモジクロロメタン生成能","コメント_ジブロモクロロメタン生成能","ジブロモクロロメタン生成能","コメント_ブロモホルム生成能","ブロモホルム生成能","コメント_クロロホルム（要監視）","クロロホルム（要監視）","コメント_トランス-1,2-ジクロロエチレン","トランス-1,2-ジクロロエチレン","コメント_1,2-ジクロロプロパン","1,2-ジクロロプロパン","コメント_p-ジクロロベンゼン","p-ジクロロベンゼン","コメント_イソキサチオン","イソキサチオン","コメント_ダイアジノン","ダイアジノン","コメント_フェニトロチオン","フェニトロチオン","コメント_イソプロチオラン","イソプロチオラン","コメント_オキシン銅","オキシン銅","コメント_クロロタロニル","クロロタロニル","コメント_プロピザミド","プロピザミド","コメント_EPN","EPN","コメント_ジクロルボス","ジクロルボス","コメント_フェノブカルブ","フェノブカルブ","コメント_イプロベンホス","イプロベンホス","コメント_クロルニトロフェン","クロルニトロフェン","コメント_トルエン","トルエン","コメント_キシレン","キシレン","コメント_フタル酸ジエチルヘキシル","フタル酸ジエチルヘキシル","コメント_ニッケル","ニッケル","コメント_モリブデン","モリブデン","コメント_アンチモン","アンチモン","コメント_塩化ビニルモノマー","塩化ビニルモノマー","コメント_エピクロロヒドリン","エピクロロヒドリン","コメント_1,4-ジオキサン","1,4-ジオキサン","コメント_全マンガン","全マンガン","コメント_ウラン","ウラン","コメント_フェノール類","フェノール類","コメント_銅","銅","コメント_亜鉛","亜鉛","コメント_鉄_溶解性","鉄_溶解性","コメント_マンガン_溶解性","マンガン_溶解性","コメント_クロム","クロム","コメント_全亜鉛","全亜鉛","コメント_クロロホルム（水生生物保全）","クロロホルム（水生生物保全）","コメント_フェノール","フェノール","コメント_ホルムアルデヒド","ホルムアルデヒド","コメント_ノニルフェノール","ノニルフェノール","コメント_ノニルフェノール異性体No.01","ノニルフェノール異性体No.01","コメント_ノニルフェノール異性体No.02","ノニルフェノール異性体No.02","コメント_ノニルフェノール異性体No.03","ノニルフェノール異性体No.03","コメント_ノニルフェノール異性体No.04","ノニルフェノール異性体No.04","コメント_ノニルフェノール異性体No.05","ノニルフェノール異性体No.05","コメント_ノニルフェノール異性体No.06","ノニルフェノール異性体No.06","コメント_ノニルフェノール異性体No.07","ノニルフェノール異性体No.07","コメント_ノニルフェノール異性体No.08","ノニルフェノール異性体No.08","コメント_ノニルフェノール異性体No.09","ノニルフェノール異性体No.09","コメント_ノニルフェノール異性体No.10","ノニルフェノール異性体No.10","コメント_ノニルフェノール異性体No.11","ノニルフェノール異性体No.11","コメント_ノニルフェノール異性体No.12","ノニルフェノール異性体No.12","コメント_ノニルフェノール異性体No.13","ノニルフェノール異性体No.13","コメント_LAS","LAS","コメント_C10-LAS","C10-LAS","コメント_C11-LAS","C11-LAS","コメント_C12-LAS","C12-LAS","コメント_C13-LAS","C13-LAS","コメント_C14-LAS","C14-LAS","コメント_４-ｔ-オクチルフェノール","４-ｔ-オクチルフェノール","コメント_アニリン","アニリン","コメント_２，４-ジクロロフェノール","２，４-ジクロロフェノール","コメント_その他項目1","その他項目1","コメント_その他項目2","その他項目2","コメント_その他項目3","その他項目3","コメント_その他項目4","その他項目4","コメント_その他項目5","その他項目5","コメント_その他項目6","その他項目6","コメント_その他項目7","その他項目7","コメント_その他項目8","その他項目8","コメント_その他項目9","その他項目9","コメント_その他項目10","その他項目10","コメント_その他項目11","その他項目11","コメント_その他項目12","その他項目12","コメント_その他項目13","その他項目13","コメント_その他項目14","その他項目14","コメント_その他項目15","その他項目15","コメント_その他項目16","その他項目16","コメント_その他項目17","その他項目17","コメント_その他項目18","その他項目18","コメント_その他項目19","その他項目19","コメント_その他項目20","その他項目20","コメント_その他項目21","その他項目21","コメント_その他項目22","その他項目22","コメント_その他項目23","その他項目23","コメント_その他項目24","その他項目24","コメント_その他項目25","その他項目25","コメント_その他項目26","その他項目26","コメント_その他項目27","その他項目27","コメント_その他項目28","その他項目28","コメント_その他項目29","その他項目29","コメント_その他項目30","その他項目30","コメント_その他項目31","その他項目31","コメント_その他項目32","その他項目32","コメント_その他項目33","その他項目33","コメント_その他項目34","その他項目34","コメント_その他項目35","その他項目35","コメント_その他項目36","その他項目36","コメント_その他項目37","その他項目37","コメント_その他項目38","その他項目38","コメント_その他項目39","その他項目39","コメント_その他項目40","その他項目40","コメント_底層溶存酸素量","底層溶存酸素量","コメント_ペルフルオロオクタンスルホン酸（PFOS）","ペルフルオロオクタンスルホン酸（PFOS）","コメント_ペルフルオロオクタンスルホン酸（PFOS）（直鎖体）","ペルフルオロオクタンスルホン酸（PFOS）（直鎖体）","コメント_ペルフルオロオクタン酸（PFOA）","ペルフルオロオクタン酸（PFOA）","コメント_ペルフルオロオクタン酸（PFOA）（直鎖体）","ペルフルオロオクタン酸（PFOA）（直鎖体）","コメント_PFOS及びPFOAの合算値","PFOS及びPFOAの合算値","コメント_大腸菌数","大腸菌数"]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,417,920,{"$f":"LEFT(I2,LEN(I2)-2)","v":"4"},{"$f":"RIGHT(\"“00\"&K2,2)","v":"04"},{"$f":"H2&\".\"&L2","v":"2019.04"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,19,null,15,null,null,null,null,">",0.5,null,7.6,null,9.3000000000000007,null,0.8,null,2.1,null,8,null,1400,null,null,null,1.1000000000000001,null,9.8000000000000004E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,430]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,508,926,{"$f":"LEFT(I3,LEN(I3)-2)","v":"5"},{"$f":"RIGHT(\"“00\"&K3,2)","v":"05"},{"$f":"H3&\".\"&L3","v":"2019.05"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,20,null,15,null,null,null,null,null,0.4,null,7.5,null,8.4,null,1,null,3.1,null,14,null,7900,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.1000000000000001]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,604,922,{"$f":"LEFT(I4,LEN(I4)-2)","v":"6"},{"$f":"RIGHT(\"“00\"&K4,2)","v":"06"},{"$f":"H4&\".\"&L4","v":"2019.06"},30,0,1,0.1,null,4,null,0,null,11,null,20,null,21,null,19,null,null,null,null,">",0.5,null,7.6,null,8.8000000000000007,null,1,null,3.6,null,18,null,790,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,470]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,710,930,{"$f":"LEFT(I5,LEN(I5)-2)","v":"7"},{"$f":"RIGHT(\"“00\"&K5,2)","v":"07"},{"$f":"H5&\".\"&L5","v":"2019.07"},30,0,1,0.1,null,4,null,0,null,11,null,20,null,21,null,21,null,null,null,null,">",0.5,null,7.4,null,7.7,null,1.3,null,3,null,6,null,2200,null,null,null,1.4,null,1.6E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.9,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.3E-2]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,820,925,{"$f":"LEFT(I6,LEN(I6)-2)","v":"8"},{"$f":"RIGHT(\"“00\"&K6,2)","v":"08"},{"$f":"H6&\".\"&L6","v":"2019.08"},30,0,1,0.1,null,10,null,0,null,11,null,20,null,22,null,22,null,null,null,null,">",0.5,null,7.3,null,7.2,null,0.9,null,3.9,null,3,null,130000,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,360]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,911,930,{"$f":"LEFT(I7,LEN(I7)-2)","v":"9"},{"$f":"RIGHT(\"“00\"&K7,2)","v":"09"},{"$f":"H7&\".\"&L7","v":"2019.09"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,28,null,23,null,null,null,null,">",0.5,null,7.4,null,7.6,null,0.8,null,2.6,null,17,null,13000]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,1009,930,{"$f":"LEFT(I8,LEN(I8)-2)","v":"10"},{"$f":"RIGHT(\"“00\"&K8,2)","v":"10"},{"$f":"H8&\".\"&L8","v":"2019.10"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,18,null,16,null,null,null,null,">",0.5,null,7.6,null,8.6,null,1.2,null,1.9,null,6,null,1700,null,null,null,1.1000000000000001,null,6.6000000000000003E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.91,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.2E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,380]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,1113,930,{"$f":"LEFT(I9,LEN(I9)-2)","v":"11"},{"$f":"RIGHT(\"“00\"&K9,2)","v":"11"},{"$f":"H9&\".\"&L9","v":"2019.11"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,12,null,14,null,null,null,null,">",0.5,null,7.5,null,9.1,null,0.7,null,1.7,null,13,null,3300,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",6.0000000000000002E-5,"<",3.0000000000000001E-6,"<",5.0000000000000004E-6,"<",5.0000000000000004E-6,"<",3.0000000000000001E-6,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",1.9999999999999999E-6,null,3.9999999999999998E-6,"<",9.9999999999999995E-7,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,null,8.0000000000000004E-4,null,1.2E-4,null,3.2000000000000003E-4,null,1.9000000000000001E-4,null,1.2E-4,"<",5.0000000000000002E-5]
[2019,43,11,1,4310230,"黒川","白川合流前",2019,1204,940,{"$f":"LEFT(I10,LEN(I10)-2)","v":"12"},{"$f":"RIGHT(\"“00\"&K10,2)","v":"12"},{"$f":"H10&\".\"&L10","v":"2019.12"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,8,null,10,null,null,null,null,null,0.4,null,7.6,null,9.1999999999999993,null,0.8,null,2.2000000000000002,null,22,null,790,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,420]
[2019,43,11,1,4310230,"黒川","白川合流前",2020,115,925,{"$f":"LEFT(I11,LEN(I11)-2)","v":"1"},{"$f":"RIGHT(\"“00\"&K11,2)","v":"01"},{"$f":"H11&\".\"&L11","v":"2020.01"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,4,null,9,null,null,null,null,null,0.42,null,7.1,null,9.4,null,1.2,null,2.7,null,21,null,790,null,null,null,1.6,null,5.8000000000000003E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2.4E-2]
[2019,43,11,1,4310230,"黒川","白川合流前",2020,219,905,{"$f":"LEFT(I12,LEN(I12)-2)","v":"2"},{"$f":"RIGHT(\"“00\"&K12,2)","v":"02"},{"$f":"H12&\".\"&L12","v":"2020.02"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,6,null,8,null,null,null,null,null,0.41,null,7.3,null,10,null,1.1000000000000001,null,2.5,null,28,null,2400,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.1000000000000001,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,410]
[2019,43,11,1,4310230,"黒川","白川合流前",2020,311,925,{"$f":"LEFT(I13,LEN(I13)-2)","v":"3"},{"$f":"RIGHT(\"“00\"&K13,2)","v":"03"},{"$f":"H13&\".\"&L13","v":"2020.03"},30,0,1,0.1,null,2,null,0,null,11,null,21,null,8,null,11.5,null,null,null,null,null,0.33,null,7.3,null,9.4,null,0.8,null,2.4,null,33,null,2400]
[2020,43,11,1,4310230,"黒川","白川合流前",2020,415,915,{"$f":"LEFT(I14,LEN(I14)-2)","v":"4"},{"$f":"RIGHT(\"“00\"&K14,2)","v":"04"},{"$f":"H14&\".\"&L14","v":"2020.04"},30,0,1,0.1,null,4,null,0,null,11,null,20,null,13,null,13,null,null,null,null,">",0.5,null,7.4,null,9.5,null,0.8,null,2.1,null,8,null,4900,null,null,null,1.1000000000000001,null,9.0999999999999998E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.0000000000000002E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,410]
[2020,43,11,1,4310230,"黒川","白川合流前",2020,609,917,{"$f":"LEFT(I15,LEN(I15)-2)","v":"6"},{"$f":"RIGHT(\"“00\"&K15,2)","v":"06"},{"$f":"H15&\".\"&L15","v":"2020.06"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,26,null,21.5,null,null,null,null,">",0.5,null,7.3,null,7.3,null,0.8,null,3.6,null,7,null,17000,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,420]
[2020,43,11,1,4310230,"黒川","白川合流前",2020,811,914,{"$f":"LEFT(I16,LEN(I16)-2)","v":"8"},{"$f":"RIGHT(\"“00\"&K16,2)","v":"08"},{"$f":"H16&\".\"&L16","v":"2020.08"},30,0,1,0.1,null,10,null,0,null,11,null,20,null,23.5,null,26.5,null,null,null,null,null,0.42,null,7.4,null,7.7,null,1.1000000000000001,null,3.9,null,21,null,79000,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,310]
[2020,43,11,1,4310230,"黒川","白川合流前",2020,909,904,{"$f":"LEFT(I17,LEN(I17)-2)","v":"9"},{"$f":"RIGHT(\"“00\"&K17,2)","v":"09"},{"$f":"H17&\".\"&L17","v":"2020.09"},30,0,1,0.1,null,4,null,0,null,11,null,20,null,20,null,19.5,null,null,null,null,">",0.5,null,7.4,null,7.5,null,0.6,null,2.2000000000000002,null,6,null,13000]
[2020,43,11,1,4310230,"黒川","白川合流前",2020,1020,922,{"$f":"LEFT(I18,LEN(I18)-2)","v":"10"},{"$f":"RIGHT(\"“00\"&K18,2)","v":"10"},{"$f":"H18&\".\"&L18","v":"2020.10"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,18.5,null,15,null,null,null,null,">",0.5,null,7.6,null,9.6999999999999993,"<",0.5,null,1.4,null,4,null,1700,null,null,null,0.97,null,9.9000000000000005E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.0000000000000001E-3,null,null,null,null,null,null,"<",6.0000000000000002E-5,"<",3.0000000000000001E-6,"<",5.0000000000000004E-6,"<",5.0000000000000004E-6,"<",3.0000000000000001E-6,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",9.9999999999999995E-7,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,null,6.9999999999999999E-4,null,8.0000000000000007E-5,null,2.4000000000000001E-4,null,1.7000000000000001E-4,null,1.3999999999999999E-4,"<",5.0000000000000002E-5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,400]
[2020,43,11,1,4310230,"黒川","白川合流前",2020,1110,916,{"$f":"LEFT(I19,LEN(I19)-2)","v":"11"},{"$f":"RIGHT(\"“00\"&K19,2)","v":"11"},{"$f":"H19&\".\"&L19","v":"2020.11"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,12,null,12,null,null,null,null,">",0.5,null,7.6,null,9.6999999999999993,null,0.6,null,1.6,null,5,null,4900,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1]
[2020,43,11,1,4310230,"黒川","白川合流前",2020,1209,928,{"$f":"LEFT(I20,LEN(I20)-2)","v":"12"},{"$f":"RIGHT(\"“00\"&K20,2)","v":"12"},{"$f":"H20&\".\"&L20","v":"2020.12"},30,0,1,0.1,null,4,null,0,null,11,null,20,null,6,null,10.5,null,null,null,null,">",0.5,null,7.6,null,9.8000000000000007,null,1,null,1.6,null,7,null,4900,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,410]
[2020,43,11,1,4310230,"黒川","白川合流前",2021,119,923,{"$f":"LEFT(I21,LEN(I21)-2)","v":"1"},{"$f":"RIGHT(\"“00\"&K21,2)","v":"01"},{"$f":"H21&\".\"&L21","v":"2021.01"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,6.5,null,16.5,null,null,null,null,">",0.5,null,7.5,null,10,"<",0.5,null,2.2999999999999998,null,7,null,1700,null,null,null,1.2,null,0.11,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.0000000000000001E-3]
[2020,43,11,1,4310230,"黒川","白川合流前",2021,203,931,{"$f":"LEFT(I22,LEN(I22)-2)","v":"2"},{"$f":"RIGHT(\"“00\"&K22,2)","v":"02"},{"$f":"H22&\".\"&L22","v":"2021.02"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,3.5,null,8,null,null,null,null,">",0.5,null,7.4,null,10,null,0.7,null,2.6,null,8,null,2400,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,420]
[2020,43,11,1,4310230,"黒川","白川合流前",2021,303,855,{"$f":"LEFT(I23,LEN(I23)-2)","v":"3"},{"$f":"RIGHT(\"“00\"&K23,2)","v":"03"},{"$f":"H23&\".\"&L23","v":"2021.03"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,3,null,7,null,null,null,null,">",0.5,null,7.4,null,9.6,null,0.9,null,3.2,null,11,null,1300]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,420,920,{"$f":"LEFT(I24,LEN(I24)-2)","v":"4"},{"$f":"RIGHT(\"“00\"&K24,2)","v":"04"},{"$f":"H24&\".\"&L24","v":"2021.04"},30,0,1,0.1,null,2,null,0,null,11,null,20,null,15.5,null,14.2,null,null,null,null,null,0.42,null,7.5,null,8.8000000000000007,null,1,null,2.7,null,16,null,7000,null,null,null,1.2,null,6.2E-2]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,525,920,{"$f":"LEFT(I25,LEN(I25)-2)","v":"5"},{"$f":"RIGHT(\"“00\"&K25,2)","v":"05"},{"$f":"H25&\".\"&L25","v":"2021.05"},30,0,1,0.1,null,4,null,0,null,11,null,20,null,18.5,null,17.2,null,null,null,null,null,0.48,null,7.3,null,8,null,0.8,null,2.7,null,9,null,13000,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.85]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,602,915,{"$f":"LEFT(I26,LEN(I26)-2)","v":"6"},{"$f":"RIGHT(\"“00\"&K26,2)","v":"06"},{"$f":"H26&\".\"&L26","v":"2021.06"},30,0,1,0.1,null,4,null,0,null,11,null,1,null,21.5,null,20.5,null,null,null,null,">",0.5,null,7.4,null,8.1,null,0.8,null,2.2999999999999998,null,4,null,14000,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.0000000000000001E-3,null,null,null,null,null,null,"<",6.0000000000000002E-5,"<",3.0000000000000001E-6,"<",5.0000000000000004E-6,"<",5.0000000000000004E-6,"<",3.0000000000000001E-6,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,null,9.9999999999999995E-7,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,null,1E-3,null,1.1E-4,null,4.0000000000000002E-4,null,3.2000000000000003E-4,null,1.6000000000000001E-4,"<",5.0000000000000002E-5]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,713,930,{"$f":"LEFT(I27,LEN(I27)-2)","v":"7"},{"$f":"RIGHT(\"“00\"&K27,2)","v":"07"},{"$f":"H27&\".\"&L27","v":"2021.07"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,27.5,null,26.3,null,null,null,null,">",0.5,null,7.3,null,7.4,null,0.7,null,2.6,null,7,null,22000,null,null,null,0.93,null,6.7000000000000004E-2,"<",2.9999999999999997E-4,"<",0.1,"<",5.0000000000000001E-3,null,null,"<",5.0000000000000001E-3,"<",5.0000000000000001E-4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",2E-3,null,0.68,null,0.01,null,0.7,null,0.85,null,7.0000000000000007E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",0.02]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,805,910,{"$f":"LEFT(I28,LEN(I28)-2)","v":"8"},{"$f":"RIGHT(\"“00\"&K28,2)","v":"08"},{"$f":"H28&\".\"&L28","v":"2021.08"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,28.5,null,23.3,null,null,null,null,">",0.5,null,7.5,null,7.3,null,0.9,null,2.2999999999999998,null,4,null,2200,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",5.0000000000000001E-4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",5.9999999999999995E-4,"<",2.9999999999999997E-4,"<",2E-3]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,908,925,{"$f":"LEFT(I29,LEN(I29)-2)","v":"9"},{"$f":"RIGHT(\"“00\"&K29,2)","v":"09"},{"$f":"H29&\".\"&L29","v":"2021.09"},30,0,1,0.1,null,4,null,0,null,11,null,1,null,23.5,null,22.1,null,null,null,null,">",0.5,null,7.5,null,8,null,0.5,null,1.9,null,5,null,2700,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.0000000000000001E-3,null,null,null,null,null,null,"<",6.0000000000000002E-5,"<",3.0000000000000001E-6,"<",5.0000000000000004E-6,"<",5.0000000000000004E-6,"<",3.0000000000000001E-6,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,null,9.9999999999999995E-7,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,null,1.2999999999999999E-3,null,1.2999999999999999E-4,null,5.2999999999999998E-4,null,5.0000000000000001E-4,null,1.1E-4,"<",5.0000000000000002E-5]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,1006,930,{"$f":"LEFT(I30,LEN(I30)-2)","v":"10"},{"$f":"RIGHT(\"“00\"&K30,2)","v":"10"},{"$f":"H30&\".\"&L30","v":"2021.10"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,22,null,19.2,null,null,null,null,">",0.5,null,7.6,null,7.9,null,0.5,null,1.9,null,4,null,17000,null,null,null,0.94,null,8.4000000000000005E-2]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,1109,930,{"$f":"LEFT(I31,LEN(I31)-2)","v":"11"},{"$f":"RIGHT(\"“00\"&K31,2)","v":"11"},{"$f":"H31&\".\"&L31","v":"2021.11"},30,0,1,0.1,null,4,null,0,null,11,null,1,null,9,null,11.7,null,null,null,null,">",0.5,null,7.7,null,8.8000000000000007,null,0.8,null,1.8,null,6,null,17000,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.91]
[2021,43,11,1,4310230,"黒川","白川合流前",2021,1214,935,{"$f":"LEFT(I32,LEN(I32)-2)","v":"12"},{"$f":"RIGHT(\"“00\"&K32,2)","v":"12"},{"$f":"H32&\".\"&L32","v":"2021.12"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,4,null,7.5,null,null,null,null,">",0.5,null,7.6,null,8.9,null,0.6,null,2.1,null,4,null,1300,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",2E-3,"<",2.0000000000000001E-4,"<",4.0000000000000002E-4,"<",2E-3,"<",4.0000000000000001E-3,null,null,"<",5.0000000000000001E-4,"<",5.9999999999999995E-4,"<",1E-3,"<",5.0000000000000001E-4,"<",2.0000000000000001E-4,null,null,null,null,null,null,"<",1E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",5.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,6.0000000000000001E-3,null,null,null,null,null,null,"<",6.0000000000000002E-5,"<",3.0000000000000001E-6,"<",5.0000000000000004E-6,"<",5.0000000000000004E-6,"<",3.0000000000000001E-6,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",9.9999999999999995E-7,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,null,8.9999999999999998E-4,null,1.2E-4,null,3.8999999999999999E-4,null,2.7999999999999998E-4,null,1.2E-4,"<",5.0000000000000002E-5]
[2021,43,11,1,4310230,"黒川","白川合流前",2022,105,925,{"$f":"LEFT(I33,LEN(I33)-2)","v":"1"},{"$f":"RIGHT(\"“00\"&K33,2)","v":"01"},{"$f":"H33&\".\"&L33","v":"2022.01"},30,0,1,0.1,null,4,null,0,null,11,null,1,null,4,null,6.4,null,null,null,null,">",0.5,null,7.4,null,9.9,null,2,null,3.5,null,7,null,1300,null,null,null,1.2,null,8.7999999999999995E-2]
[2022,43,11,1,4310230,"黒川","白川合流前",2022,420,1010,{"$f":"LEFT(I34,LEN(I34)-2)","v":"4"},{"$f":"RIGHT(\"“00\"&K34,2)","v":"04"},{"$f":"H34&\".\"&L34","v":"2022.04"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,19,null,19.2,null,null,null,null,">",0.5,null,7.6029999999999998,null,8.6,null,1.3,null,3.4,null,10,null,null,null,null,null,1.3,null,8.8999999999999996E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,790]
[2022,43,11,1,4310230,"黒川","白川合流前",2022,727,1007,{"$f":"LEFT(I35,LEN(I35)-2)","v":"7"},{"$f":"RIGHT(\"“00\"&K35,2)","v":"07"},{"$f":"H35&\".\"&L35","v":"2022.07"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,33,null,22.2,null,null,null,null,">",0.5,null,7.4,null,7.1,null,0.7,null,2.2999999999999998,null,4,null,null,null,null,null,0.78,null,5.5E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.86,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,150]
[2022,43,11,1,4310230,"黒川","白川合流前",2022,1019,1120,{"$f":"LEFT(I36,LEN(I36)-2)","v":"10"},{"$f":"RIGHT(\"“00\"&K36,2)","v":"10"},{"$f":"H36&\".\"&L36","v":"2022.10"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,18,null,15,null,null,null,null,">",0.5,null,7.4,null,9.1999999999999993,null,0.8,null,1.7,null,4,null,null,null,null,null,1,null,7.1999999999999995E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.97,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.9999999999999993E-3,null,null,null,null,null,null,"<",6.0000000000000002E-5,"<",3.0000000000000001E-6,"<",5.0000000000000004E-6,"<",5.0000000000000004E-6,"<",3.0000000000000001E-6,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",9.9999999999999995E-7,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",5.9999999999999995E-4,null,6.9999999999999994E-5,null,1.7000000000000001E-4,null,1E-4,null,5.0000000000000002E-5,"<",5.0000000000000002E-5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,320]
[2022,43,11,1,4310230,"黒川","白川合流前",2022,1108,930,{"$f":"LEFT(I37,LEN(I37)-2)","v":"11"},{"$f":"RIGHT(\"“00\"&K37,2)","v":"11"},{"$f":"H37&\".\"&L37","v":"2022.11"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,12,null,13,null,null,null,null,">",0.5,null,7.6,null,8.5,null,0.9,null,1.8,null,5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.99,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,380]
[2022,43,11,1,4310230,"黒川","白川合流前",2022,1213,930,{"$f":"LEFT(I38,LEN(I38)-2)","v":"12"},{"$f":"RIGHT(\"“00\"&K38,2)","v":"12"},{"$f":"H38&\".\"&L38","v":"2022.12"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,9,null,10.9,null,null,null,null,">",0.5,null,7.6,null,9,null,1.2,null,2.2999999999999998,null,6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2000]
[2022,43,11,1,4310230,"黒川","白川合流前",2023,118,925,{"$f":"LEFT(I39,LEN(I39)-2)","v":"1"},{"$f":"RIGHT(\"“00\"&K39,2)","v":"01"},{"$f":"H39&\".\"&L39","v":"2023.01"},30,0,1,0.1,null,4,null,0,null,11,null,1,null,3,null,8.1999999999999993,null,null,null,null,">",0.5,null,7.6,null,9.4,null,1.2,null,2.2999999999999998,null,8,null,null,null,null,null,1.1000000000000001,null,3.7999999999999999E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.02,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,180]
[2022,43,11,1,4310230,"黒川","白川合流前",2023,208,930,{"$f":"LEFT(I40,LEN(I40)-2)","v":"2"},{"$f":"RIGHT(\"“00\"&K40,2)","v":"02"},{"$f":"H40&\".\"&L40","v":"2023.02"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,8,null,9,null,null,null,null,null,0.41,null,7.5,null,9.1999999999999993,null,2.6,null,3.8,null,9,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3100]
[2022,43,11,1,4310230,"黒川","白川合流前",2023,308,935,{"$f":"LEFT(I41,LEN(I41)-2)","v":"3"},{"$f":"RIGHT(\"“00\"&K41,2)","v":"03"},{"$f":"H41&\".\"&L41","v":"2023.03"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,13,null,11.2,null,null,null,null,null,0.49,null,7.6,null,9.4,null,1.3,null,2.8,null,10,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,900]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,411,925,{"$f":"LEFT(I42,LEN(I42)-2)","v":"4"},{"$f":"RIGHT(\"“00\"&K42,2)","v":"04"},{"$f":"H42&\".\"&L42","v":"2023.04"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,16.5,null,14.2,null,null,null,null,">",0.5,null,7.3,null,9.1,null,1.2,null,1.8,null,7,null,null,null,null,null,0.92,null,9.6000000000000002E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.01,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,550]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,510,930,{"$f":"LEFT(I43,LEN(I43)-2)","v":"5"},{"$f":"RIGHT(\"“00\"&K43,2)","v":"05"},{"$f":"H43&\".\"&L43","v":"2023.05"},30,0,1,0.1,null,2,null,0,null,11,null,1,null,18,null,16.5,null,null,null,null,null,0.46,null,7.3,null,8.5,null,0.6,null,2.6,null,10,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.96,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,140]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,607,910,{"$f":"LEFT(I44,LEN(I44)-2)","v":"6"},{"$f":"RIGHT(\"“00\"&K44,2)","v":"06"},{"$f":"H44&\".\"&L44","v":"2023.06"},30,0,1,0.1,null,2,null,0,null,11,null,30,null,20.3,null,18.399999999999999,null,null,null,null,">",0.5,null,7.2,null,7.7,null,0.7,null,3.4,null,8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,370]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,718,1018,{"$f":"LEFT(I45,LEN(I45)-2)","v":"7"},{"$f":"RIGHT(\"“00\"&K45,2)","v":"07"},{"$f":"H45&\".\"&L45","v":"2023.07"},30,0,1,0.1,null,2,null,0,null,11,null,160,null,31.6,null,23,null,null,null,null,null,0.48,null,7.4,null,7.3,null,1.2,null,3.2,null,12,null,null,null,null,null,0.94,null,7.0000000000000007E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,810]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,821,955,{"$f":"LEFT(I46,LEN(I46)-2)","v":"8"},{"$f":"RIGHT(\"“00\"&K46,2)","v":"08"},{"$f":"H46&\".\"&L46","v":"2023.08"},30,0,1,0.1,null,2,null,0,null,11,null,30,null,28.6,null,22.1,null,null,null,null,">",0.5,null,7.4,null,6.9,null,1,null,2.6,null,6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.88,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,190]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,906,835,{"$f":"LEFT(I47,LEN(I47)-2)","v":"9"},{"$f":"RIGHT(\"“00\"&K47,2)","v":"09"},{"$f":"H47&\".\"&L47","v":"2023.09"},30,0,1,0.1,null,4,null,0,null,11,null,30,null,28.4,null,19.100000000000001,null,null,null,null,">",0.5,null,7.4,null,7.6,null,1,null,2.5,null,9,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,380]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,1005,1040,{"$f":"LEFT(I48,LEN(I48)-2)","v":"10"},{"$f":"RIGHT(\"“00\"&K48,2)","v":"10"},{"$f":"H48&\".\"&L48","v":"2023.10"},30,0,1,0.1,null,4,null,0,null,11,null,1,null,18.8,null,17,null,null,null,null,">",0.5,null,7.5,null,8.6999999999999993,null,0.7,null,1.5,null,4,null,null,null,null,null,0.89,null,8.3000000000000004E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.0000000000000001E-3,null,null,null,null,null,null,"<",6.0000000000000002E-5,"<",3.0000000000000001E-6,"<",5.0000000000000004E-6,"<",5.0000000000000004E-6,"<",3.0000000000000001E-6,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,"<",9.9999999999999995E-7,"<",3.9999999999999998E-6,"<",1.9999999999999999E-6,"<",3.0000000000000001E-6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,320]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,1101,955,{"$f":"LEFT(I49,LEN(I49)-2)","v":"11"},{"$f":"RIGHT(\"“00\"&K49,2)","v":"11"},{"$f":"H49&\".\"&L49","v":"2023.11"},30,0,1,0.1,null,2,null,0,null,141,null,60,null,15.5,null,13.7,null,null,null,null,">",0.5,null,7.6,null,9.3000000000000007,null,1,null,1.7,null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.97,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,230]
[2023,43,11,1,4310230,"黒川","白川合流前",2023,1206,955,{"$f":"LEFT(I50,LEN(I50)-2)","v":"12"},{"$f":"RIGHT(\"“00\"&K50,2)","v":"12"},{"$f":"H50&\".\"&L50","v":"2023.12"},30,0,1,0.1,null,4,null,0,null,142,null,30,null,8.3000000000000007,null,11,null,null,null,null,">",0.5,null,7.1,null,9.4,null,1,null,2.1,null,8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,330]
[2023,43,11,1,4310230,"黒川","白川合流前",2024,117,950,{"$f":"LEFT(I51,LEN(I51)-2)","v":"1"},{"$f":"RIGHT(\"“00\"&K51,2)","v":"01"},{"$f":"H51&\".\"&L51","v":"2024.01"},30,0,1,0.1,null,2,null,0,null,11,null,30,null,3.5,null,8.6,null,null,null,null,">",0.5,null,7.4,null,10,null,1,null,2.1,null,6,null,null,null,null,null,1.1000000000000001,null,9.7000000000000003E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,4.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.2999999999999999E-3,null,2.3000000000000001E-4,null,5.5999999999999995E-4,null,3.8999999999999999E-4,null,1.1E-4,"<",5.0000000000000002E-5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3200]
[2023,43,11,1,4310230,"黒川","白川合流前",2024,208,930,{"$f":"LEFT(I52,LEN(I52)-2)","v":"2"},{"$f":"RIGHT(\"“00\"&K52,2)","v":"02"},{"$f":"H52&\".\"&L52","v":"2024.02"},30,0,1,0.1,null,2,null,0,null,161,null,130,null,1.5,null,8.6999999999999993,null,null,null,null,">",0.5,null,7,null,9.9,null,1.2,null,2.8,null,10,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1.2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,700]
[2023,43,11,1,4310230,"黒川","白川合流前",2024,312,830,{"$f":"LEFT(I53,LEN(I53)-2)","v":"3"},{"$f":"RIGHT(\"“00\"&K53,2)","v":"03"},{"$f":"H53&\".\"&L53","v":"2024.03"},30,0,1,0.1,null,4,null,0,null,141,null,30,null,6.7,null,12.5,null,null,null,null,null,0.38,null,7.5,null,8.6999999999999993,null,1.6,null,3.9,null,19,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,920]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,411,935,{"$f":"LEFT(I54,LEN(I54)-2)","v":"4"},{"$f":"RIGHT(\"“00\"&K54,2)","v":"04"},{"$f":"H54&\".\"&L54","v":"2024.04"},30,0,1,0.1,null,4,null,0,null,141,null,30,null,12.8,null,12.6,null,null,null,null,">",0.5,null,7.3,null,9.4,null,0.5,null,1.5,null,6,null,null,null,null,null,1,null,6.2E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,190]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,514,1035,{"$f":"LEFT(I55,LEN(I55)-2)","v":"5"},{"$f":"RIGHT(\"“00\"&K55,2)","v":"05"},{"$f":"H55&\".\"&L55","v":"2024.05"},30,0,1,0.1,null,2,null,0,null,161,null,30,null,20.2,null,16.8,null,null,null,null,null,0.4,null,7.3,null,8.4,null,1.1000000000000001,null,3.1,null,12,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,130]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,604,1045,{"$f":"LEFT(I56,LEN(I56)-2)","v":"6"},{"$f":"RIGHT(\"“00\"&K56,2)","v":"06"},{"$f":"H56&\".\"&L56","v":"2024.06"},30,0,1,0.1,null,2,null,0,null,161,null,170,null,20.3,null,19.5,null,null,null,null,">",0.5,null,7.4,null,7.9,null,1.1000000000000001,null,2.7,null,5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,130]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,711,930,{"$f":"LEFT(I57,LEN(I57)-2)","v":"7"},{"$f":"RIGHT(\"“00\"&K57,2)","v":"07"},{"$f":"H57&\".\"&L57","v":"2024.07"},30,0,1,0.1,null,4,null,0,null,11,null,30,null,26.2,null,20.9,null,null,null,null,">",0.5,null,7.4,null,7.4,null,2,null,3.8,null,7,null,null,null,null,null,0.91,null,8.1000000000000003E-2,"<",2.9999999999999997E-4,"<",0.1,"<",5.0000000000000001E-3,null,null,"<",5.0000000000000001E-3,"<",5.0000000000000001E-4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",2E-3,null,null,null,null,null,0.57999999999999996,null,null,null,0.08,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",0.02,null,4.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,330]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,807,1130,{"$f":"LEFT(I58,LEN(I58)-2)","v":"8"},{"$f":"RIGHT(\"“00\"&K58,2)","v":"08"},{"$f":"H58&\".\"&L58","v":"2024.08"},30,0,1,0.1,null,2,null,0,null,11,null,30,null,30.3,null,24.6,null,null,null,null,">",0.5,null,7.5,null,7.4,null,0.8,null,2.4,null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.67,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,83]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,905,957,{"$f":"LEFT(I59,LEN(I59)-2)","v":"9"},{"$f":"RIGHT(\"“00\"&K59,2)","v":"09"},{"$f":"H59&\".\"&L59","v":"2024.09"},30,0,1,0.1,null,2,null,0,null,161,null,30,null,25.2,null,19,null,null,null,null,">",0.5,null,7.6,null,7.8,null,1.4,null,2,null,5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",5.0000000000000001E-4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",5.9999999999999995E-4,"<",1E-3,"<",2E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,160]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,1009,1000,{"$f":"LEFT(I60,LEN(I60)-2)","v":"10"},{"$f":"RIGHT(\"“00\"&K60,2)","v":"10"},{"$f":"H60&\".\"&L60","v":"2024.10"},30,0,1,0.1,null,2,null,0,null,11,null,30,null,20.100000000000001,null,17.5,null,null,null,null,">",0.5,null,7.6,null,8.4,null,1.2,null,1.8,null,5,null,null,null,null,null,0.91,null,3.5999999999999997E-2,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,8.0000000000000002E-3,null,null,null,null,null,null,"<",6.0000000000000002E-5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",5.9999999999999995E-4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,290]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,1107,1110,{"$f":"LEFT(I61,LEN(I61)-2)","v":"11"},{"$f":"RIGHT(\"“00\"&K61,2)","v":"11"},{"$f":"H61&\".\"&L61","v":"2024.11"},30,0,1,0.1,null,2,null,0,null,161,null,30,null,15.2,null,13.9,null,null,null,null,">",0.5,null,7.4,null,9,null,0.8,null,1.4,null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.54,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,150]
[2024,43,11,1,4310230,"黒川","白川合流前",2024,1216,930,{"$f":"LEFT(I62,LEN(I62)-2)","v":"12"},{"$f":"RIGHT(\"“00\"&K62,2)","v":"12"},{"$f":"H62&\".\"&L62","v":"2024.12"},30,0,1,0.1,null,2,null,0,null,11,null,30,null,4.9000000000000004,null,9.5,null,null,null,null,">",0.5,null,7.5,null,9.5,null,1.8,null,1.3,null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,470]
[2024,43,11,1,4310230,"黒川","白川合流前",2025,122,900,{"$f":"LEFT(I63,LEN(I63)-2)","v":"1"},{"$f":"RIGHT(\"“00\"&K63,2)","v":"01"},{"$f":"H63&\".\"&L63","v":"2025.01"},30,0,1,0.1,null,2,null,0,null,11,null,30,null,-0.9,null,8.6999999999999993,null,null,null,null,">",0.5,null,7.6,null,9.8000000000000007,null,1.4,null,2.2000000000000002,null,6,null,null,null,null,null,1.1000000000000001,null,0.11,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",2E-3,"<",2.0000000000000001E-4,"<",4.0000000000000002E-4,"<",2E-3,"<",4.0000000000000001E-3,null,null,"<",5.0000000000000001E-4,"<",5.9999999999999995E-4,"<",1E-3,"<",5.0000000000000001E-4,"<",2.0000000000000001E-4,null,null,null,null,null,null,"<",1E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"<",5.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3.0000000000000001E-3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,560]
[2024,43,11,1,4310230,"黒川","白川合流前",2025,204,1020,{"$f":"LEFT(I64,LEN(I64)-2)","v":"2"},{"$f":"RIGHT(\"“00\"&K64,2)","v":"02"},{"$f":"H64&\".\"&L64","v":"2025.02"},30,0,1,0.1,null,12,null,0,null,11,null,30,null,-2.6,null,6.5,null,null,null,null,">",0.5,null,7.5,null,10,null,1.6,null,1.8,null,7,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0.55000000000000004,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,120]
[2024,43,11,1,4310230,"黒川","白川合流前",2025,310,1405,{"$f":"LEFT(I65,LEN(I65)-2)","v":"3"},{"$f":"RIGHT(\"“00\"&K65,2)","v":"03"},{"$f":"H65&\".\"&L65","v":"2025.03"},30,0,1,0.1,null,2,null,0,null,161,null,30,null,13.9,null,12.5,null,null,null,null,">",0.5,null,7.5,null,9.6999999999999993,null,1.4,null,2.1,null,8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,170]

{"sheet":"グラフ","index":1,"n_rows":24,"n_cols":19,"rows_kept":24,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"項目","基準値",null,"項目","基準値"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,1,null,null,21,null,"0.04mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,2,null,null,22,null,"1mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,3,null,null,23,null,"0.006mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,4,null,null,24,null,"0.01mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,5,null,null,25,null,"0.01mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,6,null,null,26,null,"0.002g/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,7,null,null,27,null,"0.006mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,8,null,null,28,null,"0.003mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,9,null,null,29,null,"0.02mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,10,null,"0.003mg/L以下",30,null,"0.01mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,11,null,"検出されないこと",31,null,"0.01mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,12,null,"0.01mg/L以下",32,null,"10mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,13,null,"0.02mg/L以下",33,null,"0.8mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,14,null,"0.01mg/L以下",34,null,"1mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,15,null,"0.0005mg/L以下",35,null,"0.05mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,16,null,"検出されないこと"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,17,null,"0.02mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,18,null,"0.002mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,19,null,"0.004mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,20,null,"0.1mg/L以下"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※見たい項目をクリックして下さい。"]
[null,"※有効数字は２桁",null,null,null,null,null,null,null,null,null,null,null,null,"※（　　）内の数字は報告下限値（単位：mg/L）"]
[null,"※元データ（測定結果）は、「データシート」を確認ください。"]